## Blad1
Powertag | Breaker | Panel | Description | Adres | 400V List
1 | PT137F01 | AC DISTR 10P0.1 | Main Propulsion Unit AC Heating | 6
1 | PT146F01 | AC DISTR 10P0.1 | Watermaker | 15
1 | PT150F01 | AC DISTR 10P0.1 | Adsorption Unit | 19
1 | PT180F01 | AC DISTR 10P0.1 | VHF 1 (Main) | 38
1 | PT183F01 | AC DISTR 10P0.1 | BNWAS | 41
1 | PT184F01 | AC DISTR 10P0.1 | GPS | 42
1 | PT110Q01 | AC DISTR 10P0.1 | Transfer Pump 1 Grey/Black Water | 45 | 400V
1 | PT116Q01 | AC DISTR 10P0.1 | Circulation Pump System Water | 46
1 | PT117Q01 | AC DISTR 10P0.1 | Sea Water Cooling Pump 1 | 47 | 400V
1 | PT151Q01 | AC DISTR 10P0.1 | Cooling Water Pump Main Propulsion Unit | 53
1 | PT155Q01 | AC DISTR 10P0.1 | Compressor 1 | 54
1 | PT109F01 | AC DISTR 10P0.1 | Iridium GMDSS Supply | 1
1 | PT129F01 | AC DISTR 10P0.1 | Power Filter Pump | 2 | 400V
1 | PT130F01 | AC DISTR 10P0.1 | AHU Owners State Room 1 | 5 | 400V
1 | PT132F01 | AC DISTR 10P0.1 | EREC 1 Power Supply Heat Recovery | 4 | 400V
1 | PT138F01 | AC DISTR 10P0.1 | Potable Water | 7
1 | PT139F01 | AC DISTR 10P0.1 | Drain Pump 1 PS Deck Locker | 8
1 | PT140F01 | AC DISTR 10P0.1 | Drain Pump 3 PS Deck Locker | 9
1 | PT141F01 | AC DISTR 10P0.1 | Eliminated | 10
1 | PT142F01 | AC DISTR 10P0.1 | Bilge Water Separator | 11
1 | PT143F01 | AC DISTR 10P0.1 | Spare | 12
1 | PT144F01 | AC DISTR 10P0.1 | 42DS HELM CONSOLE | 13
1 | PT145F01 | AC DISTR 10P0.1 | Sailor | 14
1 | PT147F01 | AC DISTR 10P0.1 | Discharge Pumps Aft Technical Water ( no power tag) | 16
1 | PT148F01 | AC DISTR 10P0.1 | Co2 | 17
1 | PT149F01 | AC DISTR 10P0.1 | Antifouling System | 18
1 | PT152F01 | AC DISTR 10P0.1 | Hydrophore 1 | 20
1 | PT153F01 | AC DISTR 10P0.1 | Hydrophore 2 | 21
1 | PT154F01 | AC DISTR 10P0.1 | Circulation Pump Adiabtic Pump | 22
1 | PT161F01 | AC DISTR 10P0.1 | Main Salon JB | 23
1 | PT164F01 | AC DISTR 10P0.1 | Distrbution Panel 115V | 24
1 | PT165F01 | AC DISTR 10P0.1 | Discharge Pump Master Cabin PS | 25
1 | PT166F01 | AC DISTR 10P0.1 | Discharge Pump Guest PS | 26
1 | PT167F01 | AC DISTR 10P0.1 | Discharge Pump Guest PS And Overflow | 27
1 | PT168F01 | AC DISTR 10P0.1 | Charger Radio Batteries (GMDSS) | 28
1 | PT169F01 | AC DISTR 10P0.1 | Underwater Lights PS (Group 1) | 29
1 | PT170F01 | AC DISTR 10P0.1 | Underwater Lights PS (Group 2) | 30
1 | PT171F01 | AC DISTR 10P0.1 | AHU EXH2000 Above Laundry ???????? | 31 | ????
1 | PT172F01 | AC DISTR 10P0.1 | Discharge Pump Galley/Crew Mess | 32
1 | PT175F01 | AC DISTR 10P0.1 | Display Switching Ship Office | 33
1 | PT176F01 | AC DISTR 10P0.1 | BNWAS | 34
1 | PT177F01 | AC DISTR 10P0.1 | ECDIS 1 | 35
1 | PT178F01 | AC DISTR 10P0.1 | Radar 1 | 36
1 | PT179F01 | AC DISTR 10P0.1 | Speedlog | 37
1 | PT181F01 | AC DISTR 10P0.1 | AHU Technical Room | 39
1 | PT182F01 | AC DISTR 10P0.1 | Central Panel Smart Ventilation System | 40
1 | PT186F01 | AC DISTR 10P0.1 | Locker Ventilation | 43
1 | PT201F01 | AC DISTR 10P0.1 | Peplink 5G | 44
1 | PT207F01 | AC DISTR 10P0.1 | Discharge Pump Technical Space | 10
1 | PT131Q01 | AC DISTR 10P0.1 | Technical Space Ventilator - In | 48
1 | PT133Q01 | AC DISTR 10P0.1 | Fresh Air Unit Aft Ship | 49
1 | PT134Q01 | AC DISTR 10P0.1 | Extraction Unit Aft Ship | 50
1 | PT135Q01 | AC DISTR 10P0.1 | Power Distr. Panel Aft -10P1 | 51 | 400V
1 | PT136Q01 | AC DISTR 10P0.1 | Dishwasher | 52 | 400V
1 | PT156Q01 | AC DISTR 10P0.1 | Heat Recovery Pump Compression Chiller | 55
1 | PT157F01 | AC DISTR 10P0.1 | FWD RACK MAIN SUPPLY | 56
1 | PT158Q01 | AC DISTR 10P0.1 | Circulation Pump PVT 2 Panles Fwd | 57
1 | PT173Q01 | AC DISTR 10P0.1 | Battery Room Ventilator PS Fwd | 58 | 400V
1 | PT174Q01 | AC DISTR 10P0.1 | Battery Room Ventilator PS Aft | 59 | 400V
2 | PT320F01 | AC DISTR 10P0.3 | Sewage Treatment Plant | 1 | 400V
2 | PT329F01 | AC DISTR 10P0.3 | Main Propulsion Unit Offline Filter | 2
2 | PT330F01 | AC DISTR 10P0.3 | AHU2000T Crew Mess Room | 3 | 400V
2 | PT337F01 | AC DISTR 10P0.3 | Fwd Main Propulsion Unit Ac Heating | 4
2 | PT338F01 | AC DISTR 10P0.3 | ECDIS 2 | 5
2 | PT339F01 | AC DISTR 10P0.3 | Submersible Bilge Pump 3 | 6
2 | PT342F01 | AC DISTR 10P0.3 | Drain Tank Airco 1 | 7
2 | PT343F01 | AC DISTR 10P0.3 | Drain Tank Airco 2 | 8
2 | PT344F01 | AC DISTR 10P0.3 | Drain Tank Airco 3 | 9
2 | PT345F01 | AC DISTR 10P0.3 | FWD RACK KVM | 10
2 | PT346F01 | AC DISTR 10P0.3 | Watermaker | 11
2 | PT352F01 | AC DISTR 10P0.3 | Hydrophore 2 | 12
2 | PT353F01 | AC DISTR 10P0.3 | Chlorine Dosing Unit | 13
2 | PT361F01 | AC DISTR 10P0.3 | Quooker Salon | 14
2 | PT362F01 | AC DISTR 10P0.3 | Main Salon Jb 2 | 15
2 | PT363F01 | AC DISTR 10P0.3 | Serv. Corridor Jb | 16
2 | PT364F01 | AC DISTR 10P0.3 | Galley Drain Pump | 17
2 | PT365F01 | AC DISTR 10P0.3 | KVM Helmstation PS/SB | 18
2 | PT368F01 | AC DISTR 10P0.3 | Underwater Lights SB (Group 1) | 19
2 | PT369F01 | AC DISTR 10P0.3 | Underwater Lights SB (Group 2) | 20
2 | PT370F01 | AC DISTR 10P0.3 | Lighting Technical Space | 21
2 | PT371F01 | AC DISTR 10P0.3 | Fan Coil Engine Office | 22
2 | PT376F01 | AC DISTR 10P0.3 | Sockets Main Technical Space | 23 | 400V
2 | PT377F01 | AC DISTR 10P0.3 | ECDIS 2 | 24
2 | PT378F01 | AC DISTR 10P0.3 | KVM Captains Cabin Ships Office | 25
2 | PT379F01 | AC DISTR 10P0.3 | KVM Mission Room Nav/Comm Locker Fwd Rack | 26
2 | PT380F01 | AC DISTR 10P0.3 | EREC 2 Power Supply Heat Recovery | 27 | 400V
2 | PT310Q01 | AC DISTR 10P0.3 | Transfer Pump 2 Black Water(not used yet, couldn't set up) | 28 | 400V
2 | PT311Q01 | AC DISTR 10P0.3 | Transfer Pump 3 Greywater(not used yet, couldn't set up) | 29 | 400V
2 | PT312Q01 | AC DISTR 10P0.3 | Dirty Oil Pump(not used yet, couldn't set up) | 30 | 400V
2 | PT313Q01 | AC DISTR 10P0.3 | Felxtherm | 30
2 | PT317Q01 | AC DISTR 10P0.3 | Sea Water Cooling Pump 2 | 31 | 400V
2 | PT331Q01 | AC DISTR 10P0.3 | Technical Space Ventilator - Out | 32
2 | PT333Q01 | AC DISTR 10P0.3 | AHU LAUNDRY | 33 | 400V
2 | PT334Q01 | AC DISTR 10P0.3 | Extraction Unit Fore Ship | 34
2 | PT335Q01 | AC DISTR 10P0.3 | Power Distr. Panel Galley - 10P2 | 35 | 400V
2 | PT349Q01 | AC DISTR 10P0.3 | Pressure Pump | 36
2 | PT350Q01 | AC DISTR 10P0.3 | Chilled Water Pump Adsorption Unit | 37
2 | PT351Q01 | AC DISTR 10P0.3 | Cooling Water Pump Fwd Propulstion Unit | 38
2 | PT355Q01 | AC DISTR 10P0.3 | Compressor 2 | 39
2 | PT356Q01 | AC DISTR 10P0.3 | Cooling pump Fore Peak | 40
2 | PT357Q01 | AC DISTR 10P0.3 | Cooling Pump Halyard Pit | 41
2 | PT358Q01 | AC DISTR 10P0.3 | Cooling Pump Technical Space | 42
2 | PT359Q01 | AC DISTR 10P0.3 | Power Cooling pump lazarett | 43
2 | PT360Q01 | AC DISTR 10P0.3 | Circ. Pump Cooling Water Electrical System | 44
2 | PT374Q01 | AC DISTR 10P0.3 | Battery Room Ventilator SB Fwd | 45 | 400V
2 | PT375Q01 | AC DISTR 10P0.3 | Battery Room Ventilator SB Aft | 46 | 400V
2 | PT376Q01 | AC DISTR 10P0.3 | Welding Socket Lazarette | 47 | 400V
3 | PT28F01 | AC DISTR 10P1 | AHU1500 Aft Area | 13
3 | PT63F01 | AC DISTR 10P1 | AV System Supply #1 | 30
3 | PT62F01 | AC DISTR 10P1 | Burglar Alarm System | 29
3 | PT29F01 | AC DISTR 10P1 | Discharge Pump Mast | 14
3 | PT61F01 | AC DISTR 10P1 | Diving Compressor | 28 | 400V
3 | PT21F01 | AC DISTR 10P1 | FCU: Deck Lounge Guest Cabin Aft SB | 6
3 | PT23F01 | AC DISTR 10P1 | FCU: Guest Cabin Fwd PS Guest Cabin Aft PS | 8
3 | PT24F01 | AC DISTR 10P1 | FCU: Owners Bath.(Hers) Owners State Room PS | 9
3 | PT25F01 | AC DISTR 10P1 | FCU: Owners Bath.(His) | 10
3 | PT27F01 | AC DISTR 10P1 | FCU: Owners Deckh. Dining Main Salon Lounge | 12
3 | PT26F01 | AC DISTR 10P1 | FCU: Ships Office Watersport Storage | 11
3 | PT22F01 | AC DISTR 10P1 | FCU: Technical Space | 7
3 | PT38F01 | AC DISTR 10P1 | KNX Supply - EMP121 | 23
3 | PT30F01 | AC DISTR 10P1 | Lights Technical Area | 15
3 | PT31F01 | AC DISTR 10P1 | Outlets Guest Cabin 2 | 16
3 | PT32F01 | AC DISTR 10P1 | Outlets Guest Cabin 3 | 17
3 | PT35F01 | AC DISTR 10P1 | Outlets Guest Cabin 4 - EMP124 | 20
3 | PT36F01 | AC DISTR 10P1 | Outlets Lower Deck Lounge - EMP121 | 21
3 | PT33F01 | AC DISTR 10P1 | Outlets Owner - EMP125 | 18
3 | PT64F01 | AC DISTR 10P1 | Sliding Window Private Salon | 24 | added by me
3 | PT34F01 | AC DISTR 10P1 | Outlets Owner - EMP126 | 19
3 | PT37F01 | AC DISTR 10P1 | Outlets Owner Private Lounge - EMP220 | 22
3 | PT65F01 | AC DISTR 10P1 | Sliding Window Bimini Private Salon | 31
3 | PT40F01 | AC DISTR 10P1 | Helm Station SB | 25
3 | PT41F01 | AC DISTR 10P1 | STARLINK AFT | 26
3 | PT60F01 | AC DISTR 10P1 | STARLINK AFT Mizzen Mast JB | 27
3 | PT39F01 | AC DISTR 10P1 | AFT Rack Wi-Fi | 88
3 | PT69F01 | AC DISTR 10P1 | Supply Greenwall | 32
3 | PT19F01 | AC DISTR 10P1 | Spare | 4
3 | PT20F01 | AC DISTR 10P1 | Spare | 5
4 | PT10F01 | AC DISTR 10P2 | Induction Cooktop Galley | 1 | 400V
4 | PT11F01 | AC DISTR 10P2 | Dishwasher Galley-1 | 2 | 400V
4 | PT12F01 | AC DISTR 10P2 | Dishwasher Galley-2 | 3 | 400V
4 | PT13F01 | AC DISTR 10P2 | Oven Galley | 4 | 400V
4 | PT14F01 | AC DISTR 10P2 | Warming Drawer | 5
4 | PT15F01 | AC DISTR 10P2 | Quooker Service Sink Galley | 6
4 | PT16F01 | AC DISTR 10P2 | Quooker Chef Sink Galley | 7
4 | PT17F01 | AC DISTR 10P2 | STEAM OVEN, VACCUM SEAL, BLAST CHILLER | 8
4 | PT18F01 | AC DISTR 10P2 | Ice Maker, Microwave | 9
4 | PT19F01 | AC DISTR 10P2 | Evaporator Freeze System | 10
4 | PT20F01 | AC DISTR 10P2 | Evaporator Freeze System | 11
4 | PT21F01 | AC DISTR 10P2 | Compressor Fridge System | 12
4 | PT22F01 | AC DISTR 10P2 | Compressor Freeze System | 13
4 | PT23F01 | AC DISTR 10P2 | Discharge Pump Galley/Crew Mess | 14
4 | PT24F01 | AC DISTR 10P2 | Indication Light(No power tag needed) | 15
4 | PT25F01 | AC DISTR 10P2 | Water Tight Hinge Dooor | 16
4 | PT26F01 | AC DISTR 10P2 |  | 17
4 | PT27F01 | AC DISTR 10P2 | Evaporator Freeze System | 18
4 | PT40F01 | AC DISTR 10P2 | Ventilation Rack | 19
4 | PT41F01 | AC DISTR 10P2 | Drain Pump Galley | 20
4 | PT50F01 | AC DISTR 10P2 | FCU: Galley Aft | 21
4 | PT50F02 | AC DISTR 10P2 | FCU: Galley Fwd | 22
4 | PT53F01 | AC DISTR 10P2 | Galley Hood | 23
4 | PT60F01 | AC DISTR 10P2 | Outlets Galley - EMP 111-1 | 24
4 | PT61F01 | AC DISTR 10P2 | Outlets Galley - EMP 111-2 | 25
5 | PT10F01 | AC DISTR 10P3 | Washer-1 | 1 | 400V
5 | PT11F01 | AC DISTR 10P3 | Washer-2 | 2 | 400V
5 | PT12F01 | AC DISTR 10P3 | Dishwasher Crew Mess | 3 | 400V
5 | PT13F01 | AC DISTR 10P3 | Dryer-1 and Dryer-2 | 4
5 | PT14F01 | AC DISTR 10P3 | SPARE | 5
5 | PT15F01 | AC DISTR 10P3 | SPARE | 6
5 | PT16F01 | AC DISTR 10P3 | SPARE | 7
5 | PT17F01 | AC DISTR 10P3 | Sliding Door Crew Corridor | 8
5 | PT18F01 | AC DISTR 10P3 | Crew Mess JB | 9
5 | PT19F01 | AC DISTR 10P3 | SPARE | 10
5 | PT20F01 | AC DISTR 10P3 | SPARE | 11
5 | PT21F01 | AC DISTR 10P3 | SPARE | 12
5 | PT22F01 | AC DISTR 10P3 | SPARE | 13
5 | PT23F01 | AC DISTR 10P3 | SPARE | 14
5 | PT24F01 | AC DISTR 10P3 | Discharge Pump Crew SB Aft/Mid | 15
5 | PT25F01 | AC DISTR 10P3 | Discharge Pump Crew PS Mid/Sb Fwd | 16
5 | PT26F01 | AC DISTR 10P3 | SPARE | 17
5 | PT27F01 | AC DISTR 10P3 | SPARE | 18
5 | PT28F01 | AC DISTR 10P3 | SPARE | 19
5 | PT29F01 | AC DISTR 10P3 | SPARE | 20
5 | PT30F01 | AC DISTR 10P3 | SPARE | 21
5 | PT31F01 | AC DISTR 10P3 | SPARE | 22
5 | PT32F01 | AC DISTR 10P3 | SPARE | 23
5 | PT33F01 | AC DISTR 10P3 | SPARE | 24
5 | PT34F01 | AC DISTR 10P3 | SPARE | 25
5 | PT35F01 - 112f01 | AC DISTR 10P3 | HANDHELD VHF/UHF | 26
5 | PT36F01 | AC DISTR 10P3 | SPARE | 27
5 | PT37F01 | AC DISTR 10P3 | SPARE | 28
5 | PT38F01 | AC DISTR 10P3 | SPARE | 29
5 | PT39F01 | AC DISTR 10P3 | SPARE | 30
5 | PT40F01 | AC DISTR 10P3 | SPARE | 31
5 | PT41F01 | AC DISTR 10P3 | SPARE | 32
5 | PT42F01 | AC DISTR 10P3 | SPARE | 33
5 | PT51F01 | AC DISTR 10P3 | SPARE | 34
5 | PT52F01 | AC DISTR 10P3 | SPARE | 35
5 | PT53F01 | AC DISTR 10P3 | SPARE | 36
5 | PT54F01 | AC DISTR 10P3 | FCU Overflow Bathroom | 37
5 | PT55F01 | AC DISTR 10P3 | FCU: Laundry Captain Cabin Crew Cabin Mid PS | 38
5 | PT56F01 | AC DISTR 10P3 | FCU: Crew Mess Crew Cabin Aft Sb Crew Cabin Mid SB | 39
5 | PT57F01 | AC DISTR 10P3 | FCU: Crew Cabin Fwd Ps Crew Cabin Fwd SB | 40
5 | PT58F01 | AC DISTR 10P3 | FCU: Main Salon Bar | 41
5 | PT70F01 | AC DISTR 10P3 | Discharge Pumps-8/9/10 | 42
5 | PT80F01 | AC DISTR 10P3 | Lights Technical Areas - 901JB003 | 43
5 | PT81F01 | AC DISTR 10P3 | Lights Technical Areas - EMP109 | 44
5 | PT82F01 | AC DISTR 10P3 | Outlets Crew Cabin 1 - EMP101 | 45
5 | PT83F01 | AC DISTR 10P3 | Outlets Crew Cabin 2 - EMP102 | 46
5 | PT84F01 | AC DISTR 10P3 | Outlets Crew Cabin 3 - EMP103 | 47
5 | PT85F01 | AC DISTR 10P3 | Outlets Crew Cabin 4 - EMP104 | 48
5 | PT86F01 | AC DISTR 10P3 | Outlets Captains Cabin - EMP105 | 49
5 | PT87F01 | AC DISTR 10P3 | Outlets Crew Cabin 5 - EMP106 | 50
5 | PT88F01 | AC DISTR 10P3 | Outlets Laundry - EMP108 | 51
5 | PT89F01 | AC DISTR 10P3 | Outlets Crew Lounge - EMP108 | 52
5 | PT90F01 | AC DISTR 10P3 | Outlets Crew Mess - EMP109 | 53
5 | PT91F01 | AC DISTR 10P3 | Outlets Guest Cabin 1 - EMP112 | 54
5 | PT92F01 | AC DISTR 10P3 | Outlets Dining - EMP202 | 55
5 | PT93F01 | AC DISTR 10P3 | Outlets Salon - EMP201 | 56
5 | PT94F01 | AC DISTR 10P3 | EMP110 | 57
5 | PT95F01 | AC DISTR 10P3 | EMP113 | 58
5 | PT98F01 | AC DISTR 10P3 | KNX Supply | 60
5 | PT99F01 | AC DISTR 10P3 | AV System Supply #2 | 61
5 | PT111F01 | AC DISTR 10P3 | Discharge Pump Captain/Laundry | 62
5 | PT59Q01 | AC DISTR 10P3 | AHU2000T Crew Messroom | 63
3 | PT66F01 | AC DISTR 10P1 | SLIDING WINDOW BIMINI MAIN COCKPIT | 33
3 | PT67F01 | AC DISTR 10P1 | Discharge Pump Lazzarete | 2 | new